X 1 : 

----------------------------------------------------------

Tk – Temperature sensor (Boiler temperature), 1,2        
Tcwu – Temperature sensor (Domestic hot water), 3,4

Tpod - Temperature sensor (Screw), 5,6 

STB = Sicherheits Temperatur Begrenzer – Termik – Safety temperature limiter, 7,8
M4 – Domestic hot water pump (Tap water), 9,10
M5 – Central heating pump, 11,12
M6 – Ash removing system (Motor), 13,14
M7 – Air blower (Ventilator), 15,16
In the cast iron burner 240 kW there are two ventilators. Both of them (Primary Air Blower and Secondary Air Blower) should be connected to M7. 
M1 - feeder I, lower feeder, 17-19

Main electrical supply, 20-23

X 2 : 

----------------------------------------------------------------

B -  fuel level sensor of the upper feeder - capacity sensor, 1-3
Czarny: black

Niebieski: blue

Brazowy: brown

M2 - feeder II, upper feeder, 4-6

M3 –burner cleaning, 7-9,
ZAB – limit switch of the burner cleaning, 10,11,

M8 - exhaust gases fan (Sucking ventilator), 12,13
